Asset management using a hybrid Backcasting/ Forecasting approach.

# ABSTRACT

Purpose of this paper: To present an alternative approach to facilities and built asset management adaptation planning to climate change based on a hybrid backcasting/forecasting model. Backcasting envisions a future state and examines alternative ‘pathways of approach’ by looking backwards from the future state to the present day.  Each pathway is examined in turn to identify interventions required for that pathway to achieve the future state. Each pathway is reviewed using forecasting tools and the most appropriate selected. This paper describes the application of this approach to the integration of climate change adaptation plans into facilities and built asset management.

Design/methodology/approach: The researchers worked with various stakeholders as part of a participatory research team to identify climate change adaptations that may be required to ensure the continued performance of a new educational building over its life cycle. The team identified 2020, 2040 and 2080 year end-goals and assessed alternative pathways of approach. The most appropriate pathways were integrated into the facilities and built asset management plan.

Findings: The paper outlines a conceptual framework for formulating long term facilities and built asset management strategies to address adaptation to climate change.

Research limitations/implications: The conceptual framework is validated by a single research case study and further examples are needed to ensure validity of the approach in different facilities management contexts.

Originality/value: This is the first paper to explore backcasting principles as part of facilities and built asset management planning.

Keywords – Backcasting, Forecasting, Built Asset Management, Adaptation, Climate Change

Article Type – Research Paper

# 1	INTRODUCTION

The impacts that climate change could have on built assets is well documented (Camilleri .et.al, 2001; Sanders and Phillipson, 2003; Liso et al. 2003; Levermoore et al., 2004); as is the suitability of alternative adaptation strategies to address these impacts (Gavin et.al, 2005; Hacker et al., 2005; DCLG, 2010; Tillsona et al. 2013). What is less clear from literature is how adaptation strategies can be integrated into long term built asset management planning (Desai and Jones, 2010). Desai and Jones (2010) argued that the uncertainty associated with climate change; the long term nature of future climate projections; and the short term operational demands placed on buildings make it difficult for facilities managers to prioritise climate change adaptations over other interventions that have a more immediate benefit. However, failure to address climate change in a timely fashion could render many buildings prematurely obsolete. Desai and Jones (ibid) further argue that current forecasting tools used by facilities managers to set built asset management plans could exacerbate potential future problems by restricting the scope of possible long term ‘futures’ to an extrapolation of current experiences and performance trajectories. Such an approach limits the inclusion of step change scenarios that may be required to address the impacts that future climate change could have on many buildings.

This paper presents an alternative theoretical approach to developing long term ‘futures’ based on backcasting, supported by forecast modelling used to identify potential adaptations that may be required to improve a building’s resilience to future climate change, specifically increased flooding and overheating. The focus of the paper is a new £75m educational building which, at the time of this research project, was at the detailed design stage. The building will occupy a 0.65 hectare brown field site located within a world heritage site. The building will be bounded by transport infrastructure on two sides and residential/commercial buildings on two sides. The building will have an internal area of 15,267m². The building will house Academic Departments, a University Library and provide a series of shop fronts onto the main street. The building has been designed to achieve BREEAM excellence... The paper reviews the theory of backcasting against the backdrop of the building described above and outlines the participatory research approach that was used to develop a 70 year climate change adaptation strategy for the building. In turn the paper presents a theoretical model by which the learning from the project could be applied more generally as a part of the strategic built asset management process. The paper concludes that backcasting could provide the theoretical base to support the step change in thinking about built asset management performance that is required to address future climate change. The paper also identifies the need for new life cycle analysis tools to support a backcasting approach.

# 2	STATE OF THE ART

Future studies have been used for policy planning; in depicting economic and market trends; and for setting organisational strategies. In this context Chatterjee and Gordon (2006) identified a ‘futures’ spectrum and described a range of approaches to deal with uncertainty and ambiguity at one end of the spectrum (e.g. behavioural simulations, scenario planning and modelling etc.) and certainty at the other end of the spectrum (e.g. forecasting, exploration etc.). Based on this, Miola (2008) (citing Banister and Stead (2004)) mapped the different types of scenario to distinct future studies (Table 1).

| Future Studies | Questions | Scenario |
| --- | --- | --- |
| Probable | What is likely to happen | Precautionary /Predictive scenarios |
| Possible | What might happen | Explorative/ Projective scenario |
| Preferable / Desired | What would we prefer to happen | Visionary/Normative Prospective scenario |

Table 1: Future studies and respective scenarios (adapted from Miola, 2008)

‘Probable’ and ‘Possible’ future studies are viewed as forecasting approaches which use predictive and exploratory scenarios based on quantitative data generated from surveys, past and current trend monitoring and explanatory modelling to develop views of the future. These approaches require a stable and framed system and manageable time frames. ‘Preferable/Desired’ future studies are viewed as backcasting approaches which use visionary and prospective scenarios based on a mix of quantitative and qualitative data generated through workshops, focus groups and Delphi techniques to develop views of the future. These approaches are more tolerant of unstable and unframed systems and of long time scales. In all future studies the future views provide the criteria against which success or failure of alternative solutions can be evaluated.

The term backcast is widely attributed to Robinson (1982, 1990) who defined it as a normative method in which a desired long-term end-point is set and then used as the reference point to ‘look back’ to the current day position to identify the various stages at which actions are required to achieve a successful journey from the current day position to the preferred future position. In a review of backcasting Dreborg (1996) concluded that the approach was most applicable to situations where:

- the problem being addressed is complex and a change in the existing trend is required;

- time frames are long and deliberate choices (interventions) need to be made;

- dominant trends are part of problem; and

- the problem scope is wide and externalities are crucial.

The application of ‘backwards-looking-analysis’ was pioneered in exploring energy policy in the US (Lovins, 1976) and it continues to be applied to a variety of energy challenges today, including developing plans for 100% renewables within countries (ICARB, 2014). Backcasting has also been used in the Transition Town movements (Hodgson and Hopkins, 2010) as a participatory tool where workshops, built around visioning exercises and a ‘Transition Timeline’, allowed individuals to envisage particular future events over a 20 year timeline; in environmentally sustainable transport (Geurs and van Wee, 2004) and water infrastructure (Gleick et al., 1995) projects; and for sustainable employment planning (Koves et al., 2013). Also, Quist (2007) reviewed a number of case studies that used backcasting methods in food and land use studies and concluded that the backcasting approach was useful in developing a shared vision of the future from which follow up or spin off activities could be generated.

In addition to policy studies backcasting has also been applied in commercial settings. Nike, Ikea and Interface used The Natural Step[i] to inform their medium to long term business strategies (Hauser and Blume, 2010). However, in this application, rather than imagining a single future (which they argued was too difficult to achieve amongst a large number of people with different perspectives) the Natural Step generates a set of principles that define a sustainable future space. Backcasting is then applied to identify alternative pathways of approach to arrive at the desired future space.

Finally, whilst most research studies have treated backcasting and forecasting as separate, distinct approaches, Hojer and Mattsson (2000) suggest that they can be combined in situations where forecasting alone suggests the future end-point is unlikely to be reached. In this case backcasting provides the futures vision and pathways whilst forecasting is used to quantify the ability of interventions to bring about the desired future.

The author’s contend that the backcasting approaches reviewed above map well to the problems associated with integrating climate change into future facilities and built asset management decision making models where:

- climate change scenarios are complex and subject to uncertainty;

- facilities and built asset management time scales are long, typically 30-70 years;

- short-term thinking tends to dominate over long-term objectives; and

- potential solutions involve multiple stakeholders and external agencies.

Further, because of the wide range of stakeholders involved in developing and delivering long term facilities/built asset management plans the authors suggest that a modified version of backcasting, participatory backcasting, can be used to develop long term future visions and transition pathways with a version of forecasting employed to quantify the impact of alternative interventions to deliver the desired end goal. This approach mirrors closely the 5 stage model suggested by Quist and Vergragt (2006).

Stage 1: 	Strategic problem orientation;

Stage 2: 	Specification of external variables;

Stage 3: 	Construction of future visions or scenarios;

Stage 4: 	Backcasting: backwards-looking analyses;

Stage 5: 	Elaboration and defining follow-up and an action agenda.

This approach is reviewed in the remainder of this paper.

# 3	RESEARCH METHODOLOGY

3.1	Research Project

The subject of the research project was a £75m (capital cost) new educational building. As part of the initial design the client requested their Facilities Management department to work with the design team to undertake a review of the potential impact that climate change could have on the building and develop a long term facilities and built asset management strategy to ensure that the building continued to perform at an acceptable level over a 70 year period. Researchers from the Sustainable Built Environment Research Group were part of the Client Organisation and acted in an observational capacity during project team meetings (although the authors did comment on specific issues at the request of other team members). The data presented in this paper is the result of a post project process review undertaken by the authors after the completion of the building design phase.

3.2	Participatory Research Process

The research project commenced in October 2010 and was completed in June 2011. The project team comprised representatives from the Architects; Building Services Engineers; Structural Engineers; Quantity Surveyors; the Client (represented by the Facilities Management Department); and members of the Sustainable Built Environment Research Group as observers.  In addition, specialist input to the project was provided by a climate change expert who developed the climate impact models. The project team met formally on 4 occasions. Each of these meetings was in the form of a 1 day workshop. Between workshops members of the team worked in small groups to develop, test and refine their inputs. The first meeting established the focus for the project; developed a set of questions for the partners to investigate; agreed procedures for data gathering/analysis; and outlined a set of deliverables for the second meeting, which was mainly concerned with an assessment of the antecedent climate threats and the identification of future climate change risks.

At the second meeting the project team received a climate change risk report that identified current and expected risks aligned to the predicted first and second refit of the building (2020 and 2040) and design life (2080) (these dates were chosen to align with the timeframes of UKCP09 projections for the 2020s, 2050s and 2080s, although the first refit is early in the buildings life, projections for the 2020s indicate the potential for a significant temperature rise which could have an adverse impact on the building) . The risk reports were generated using the UKCP09 (median prediction emissions scenarios) to produce likely weather scenarios and associated building impacts on: Internal Comfort & Building Façade; External Comfort; Structural Stability; Infrastructure; Water Supply; Drainage & Flooding; Landscaping; and the Construction Process. Although a wide range of extreme weather events were examined, on review, the client side stakeholders decided to focus primarily on issues of thermal performance, where 3.8-4.8oC rise in annual mean temperature above the control period was predicted by 2080 and pluvial flooding, where an increased risk was identified to the building’s basement areas and attenuation tank capacity.

Once the weather data had been presented, the facilities management members of the project team developed performance specifications, in terms of operational expectations of the building for 2020, 2040 and 2080, for each of the impacts identified above. The design side stakeholders analysed how their design solutions would perform against each specification. By way of example, for Internal Comfort and Building Façade 4 questions were asked:

- Would rooms overheat in the future?

- What would be the impact on the annual energy loads?

- Can the existing chiller specification cope with any increased load?

- How will solar gain change in the future?

The results of these analyses were presented to the whole project team at the third workshop. Similar analyses were presented for the other impact areas. As this project was solely concerned with the impact of climate change no account was taken of other future scenarios (e.g. economic, political etc.).

The third workshop examined the design implications of the questions outlined above. The performance specifications provided the 'operational targets' (end-points) from which costed adaptation solutions were 'backcast' to ensure that the building would meet its targets over its life-cycle. This process identified 42 possible adaptation measures of which 25 were tagged as ‘do now’, ‘2020’, ‘2040’ or ‘2080’. Each adaptation measure was evaluated against the following principles:

- Measures that required structural alteration were recommended to be undertaken immediately irrespective of their actual required implementation date.

- Measures that required changes to system or component capacity were only to be implemented when required but consequential structural and space planning issues were implemented as 1 above.

- Each measure was considered in terms of its impact on the current design and modifications introduced to facilitate a future retrofit.

- Those measures that were identified, but for which the UKCP09 weather data provided no firm direction, were assessed on their merits. This particularly applied to the risk of flooding where preparation was undertaken even though the likelihood of future events was uncertain.

At the final workshop each of the detailed adaptations were considered and either adopted or rejected by the client team. Of the 25 detailed adaptations developed through this process, 8 were adopted immediately and included in the final detailed design. The remainder formed part of the future facilities and built asset management plan. Further details of the technical and managerial interventions proposed and adopted and the reasoning behind these decisions can be found in the technical paper reviewing climate change adaptation associated with this case study by Jones et al. (2013). The full list of adaptation measures proposed can be seen in Table 2.

| Risk | Adaptation/ Comment | Implementation |
| --- | --- | --- |
|  |  | Now | 2020 | 2040 | 2080 |
| Overheating | Alter the current glazing system to allow for openable windows to be easily installed in future [T]2 |  |  | • | • |
|  | Install additional chillers on the roof [T]2 |  | • | • |  |
|  | Future thermal design modifications should be based on an adaptive comfort model [M] |  | • | • | • |
|  | Allow for an increase in plant and riser space [T]2 | • |  |  |  |
|  | Introduce a ‘siesta’. Behavioural adaptations were seen as beneficial and could limit the predicted thermal issues. However it would impact on the usability of the building. [M]3 |  | • | • | • |
| Reduced Heating Load | Replace boilers with an increased number of smaller sized units [T]2 |  |  | • |  |
| Insufficient comfortable external areas | Allow all building users to access the roof areas [M]1 Introduce shading to external spaces [T]1 Introduce external water features [T]1 | • |  |  |  |
| Infrastructure failure (electric) | Add access control to the standby generator [T]1 | • |  |  |  |
| Infrastructure failure (gas) | Include for an electric back-up form of heating (GSHP) [T]1 |  |  | • |  |
|  | Increase hot water storage [T]1 |  |  | • |  |
| Infrastructure failure (water) | Increase the cold water storage [T]1 |  |  | • |  |
| Infrastructure failure (drainage) | Increase size of Attenuation tank [T]3 |  |  |  | • |
| Increase in storm activity | Increase capacity of rainwater pipes & drainage [T]2 Increase roof capacity to store rainwater [T]2 |  |  |  | • |
|  | Permanent flood protection measures to basement areas [T]1 Include adaptable door frames for door dams [T]1 Increase the height of the retaining walls [T]1 | • |  |  |  |
| Failure of drainage system | Connect drainage system to the BMS [T]1 | • |  |  |  |
| Increase in groundwater level | Provide adequate build-up above the tank to avoid flotation [T]1 | • |  |  |  |
| Increase in water costs | Introduce waterless urinals [T]3 Add a rainwater recycling system [T]3 |  |  | • |  |
| Waste from refurbishments | Upgrade facade systems with recyclable materials [T]2 | • |  |  |  |
| Insufficient cycle storage spaces | Increase the cycle store capacity [M]1 | • |  |  |  |
| [T]: Technical Intervention, [M]: Management/Behavioural Intervention 1: Adaptation implimtented as part of the original build 2: Implimnetation of preparatory work as part of the immediate build to allow for a planned future upgrade (date noted is the date of the future adaptation – unless future date required is unclear in which case ‘do now’ is noted ie the date of the perparatory work) 3: Future change to the building |

Table 2: Adaptation measures and implementation schedule

4 	Integrating Adaptation into Built Asset Management

Following completion of the building design phase the research team analysed the activities of the project team to identify the generic decision making process that had been used in assessing climate change risk. From this review a generic 6 stage approach to the integration of climate change adaptations into facilities and built asset management was identified.

Stage 1: Set End Goal. The first task undertaken by the project team was to establish the desired outcomes (in terms of building performance criteria) that any adaptation solution would need to satisfy. This process involved reviewing corporate documents and long term strategic plans to establish the future context within which the building would have to operate. The outcomes were then expressed as a facilities management problem orientation statement. The statement said that any adaptation strategy should seek to ensure that “the performance of the new built facility in terms of its future resilience to climate change, and ability to fulfil mitigation targets, should be achieved without compromising user comfort and future operational demands”. This in essence was the project’s strategic end-goal.

Stage 2: Set Performance Targets. Once the future building expectations had been articulated, the project team established specific performance criteria against which alternate adaptation options could be evaluated. In the case of this project the key criteria were future CO2 reduction, energy efficiency improvements and resilience of the building to the impacts of flooding (identified as a consequence of increased storm intensity and the inability of the local drainage system to cope with the expected volume of water). Wherever possible quantitative performance targets were set (e.g. future overheating thresholds) against which adaptations to future climate change projections could be evaluated. Where this wasn’t possible (e.g. behavioural responses to overheating) qualitative performance targets were set as a guide to future expectations. This stage expressed the strategic end-goal as a series of performance targets.

Stage 3: Develop Future Scenarios. Setting the expected ‘end-point’ or ‘target’ of future adaptations provided a focus for the development of alternative pathways that could be taken to achieve the end-point. A range of future pathways (technical and operational) were identified that could form the basis of alternative adaptation pathways. As a starting point the project team established the business as usual scenario as a reference point for envisioning alternative scenario pathways based on reflection and shared knowledge of the organisation. Four further scenario pathways were then developed.

- Scenario1 (business as usual pathway) – For this base scenario the energy load due to heating and cooling was presumed to increase whilst the energy supply source remained the same (i.e. energy supplied using a mix of gas and electricity). The resulting CO2 levels would be offset by buying carbon credits to ensure the organisation hit expected UK government targets for their sector. No additional adaptation measures for flooding resilience were considered with the consequences of any future flooding event being dealt with through existing disaster recovery and business continuity plans.

- Scenario 2 (management pathway) – Considering the UK Government drive for renewable energy, this scenario envisioned new procurement contracts for renewable energy supply. The scenario also envisaged new workplace strategies to encourage energy efficient behaviour (e.g. incentives and acknowledgements for energy efficient departments and employees). A new disaster recovery plan using a flood warning system to trigger a flood management strategy was also envisaged.

- Scenario 3 (design pathway) – This vision outlined use of landscaping and natural ventilation systems to reduce cooling loads in the event of an increase in overheating in the future. Building users would also be encouraged to make use of external spaces, particularly the roof gardens. The landscape would be designed using SUDS (sustainable urban drainage systems) principles and this would also make the site more resilient to flood events.

- Scenario 4 (technical pathway) – This scenario assumed a range of technical adaptations would be retrofitted to the building as and when they were needed. The difference between this approach and a traditional refurbishment model is that the building would be designed with specific retrofit upgrades in mind. This would include initial preparatory works being undertaken during the original construction phase to allow subsequent retrofit in the future. Measures for flood resistance such as flood gates are put in place; the electrical sockets are placed above flood level; and the basement would have resilient fixtures and fittings. No critical services would be placed at basement level and flood kits would be provided for after flood cleaning processes.

- Scenario 5 (combined technical/management pathway) – This scenario outlined the use of a combination of technical (e.g. additional air condition units or portable fans during overheating events) and management (e.g. staff encouraged to adopt a casual dress code and make use of outdoor spaces during breaks) adaptations similar to those described above.

These scenarios are shown conceptually in Figure 1. Whilst the scenarios were not developed against any specific backcasting approach they do demonstrate the application of backcasting principles. Figure 1 shows the gap between the required performance and expected performance of the building over time.  The dotted line represents ‘a time in the near future’ where the actual performance of the building under a ‘business as usual scenario’ is below the optimum that would be desired (the top line). The assumption in the diagram is that this underperformance is due in part to the then current impacts of climate change. The bottom line represents the improvements in performance over time that could be expected from application of existing facilities and built asset management plans. The top line represents the required performance as derived from the envisioning scenarios to address the impact of climate change (the desired end-goal). The space between the two lines represents the future adaptation space. The lines within the adaptation space represent alternative adaptation pathways that were backcast (the arrows) from the future end-goal. Design and technology adaptations are assumed to be lagging solutions; management and behavioural adaptations are assumed to be leading solutions. At this point the model is explanatory and not intended to identify the most appropriate adaptation route for a building.

Figure 1: Explanatory model of the backcasting approach

Stage 4: Evaluate Adaptation Options. In order to work out the operational and financial feasibility of alternative adaptations a building simulation modelling exercise was undertaken (a forecasting approach). Each adaptation was considered against the 8 principle design criteria: Internal Comfort & Building Façade; External Comfort; Structural Stability; Infrastructure; Water Supply; Drainage & Flooding; Landscaping; and the Construction Process. Each scenario was then considered against the 2020, 2040 and 2080 time frames. The feasibility studies identified 42 possible adaptations, the majority of which were technical in nature. The fact that technical adaptations dominated discussions was not surprising as the majority of the project team were engineers and architects who were familiar with undertaking technical assessments. Indeed, the lack of an approach for evaluating the behavioural and managerial strategies for climate change adaptation was one of the key findings to emerge from this part of the study.

Stage 5: Identify Adaptation Path. The project team reviewed the adaptation options identified in stage 4 to identify when in the building time line each would need to be enacted. Although a full life cycle cost analysis was beyond the scope of the project an initial assessment of the cost, based on the cost of the proposed adaptation at current rates, and benefits that each adaptation would have on the building’s performance (or severity of the impact of not implementing the adaptation) over time was considered. The adaptations were allocated to one of three categories; immediate implementation of the adaptation solution as part of the original build; implementation of preparatory work as part of the immediate build to allow for a planned future upgrade; or future operational changes to the building (see table 2 for more details). An example of an immediate implementation was the inclusion of a backup generator to run essential services in the event of a flood. Although the building was not currently at risk of flooding, the future flood risk assessment had identified a potential risk to the critical power infrastructure that supplies the building. This risk, whilst unquantifiable during the project, was nevertheless considered serious enough for the facilities management team to advise the client of the need to build in a contingency against this possibility as part of the initial design solution. An example of preparatory work was to increase the plant and riser space within the building to accommodate future increase in chiller capacity for cooling (circa 2020) and support a change to a modular based boiler installation to allow for a reduction in installed heating capacity as demand reduces from 2040 onwards. Examples of operational changes were adopting a relaxed dress code (staff) and not programming classes for the middle of the day to encourage behavioural adaptations to the thermal environment within the building. The changes were expected from 2020 onwards.

Stage 6: Implementation. Those adaptations identified for immediate implementation, or where preparatory work was required at the design stage to support their later implementation, were included as changes to the original building design. These changes were estimated to cost the client an additional 0.4% of total project cost. Those adaptations that were potentially required in the future were programmed into the building’s long term built asset management plan. The cost of these changes was estimated at 2.2% of total project cost.

Although the above process is based on the analysis of only one building project the authors believe that it could form the basis of integrating adaptation (to climate change) planning into built asset management.

- DISCUSSION AND PRACTICAL IMPLICATIONS

The project described in this paper did not set out to explicitly test the application of backcasting and forecasting to built asset adaptation planning. Indeed, the project reported was not ostensibly a research project but was a real life building project in which the author’s primary role were as observers to the design phase.  This said, the authors did provide input to the project team on request and were involved in discussion with the client’s facilities management team outside of the formal projects meetings. As such, the findings presented in this paper represent a post project analysis in which backcasting and forecasting were identified as the theoretical approach that best described the actions of the project team as they sought to integrate adaptation to climate change into the design and built asset management process. Based on the post project analysis an explanatory model (Figure 2) summarising the general approach to the application of a hybrid backcasting and forecasting approach to facilities and built asset management was developed.

In applying the hybrid backcasting/forecasting model to the integration of climate change adaptation into the built asset management process facilities managers need to concern themselves with preferred/desired (rather than the probable/possible) scenarios to set the end goal (Figure 2: Stage 1) and performance criteria (Figure 2: Stage 2) against which alternative adaptation solutions can be evaluated. These views need to detach themselves from existing trajectories (building and operational) and be responsive to long term timescales and inconsistent data.  In practical terms these need to be developed through collaborative exercises that reflect the views of the diverse stakeholder groups that are involved in a building’s future and need to use approaches that can accommodate conflicting opinions (e.g. focus groups, workshops, Delphi Groups etc.). In essence they need to establish a future scenario space rather than a single end point.

Figure 2: Integration of backcasting and forecasting applied to facilities and built asset management

Once the future vision is established alterative pathways of approach need to be identified (Figure 1 and Figure 2: Stage 3) that reflect the strategic aspirations of the organisation. At this stage the pathways of approach should be considered a management tool to focus discussion about the implications of alternative adaptation strategies (e.g. technical, managerial, behavioural or combined intervention) rather than a planning tool in which detailed adaptation solutions are programmed into built asset management plans.  In essence the alternative pathways provide the strategic guidance which will inform future evaluations.

The approach described above maps well to the participatory backcasting approach reviewed previously. However, in order to integrate adaptation solutions into built asset management plans a forecasting approach is also required.

With the end goal set and alternative pathways of approach identified individual adaptation solutions can be developed and evaluated against the performance criteria set in Stage 2. The design and evaluation of each adaptation option (Figure 2 Stage 4) needs to identify the time in the future that the adaptation might be needed (or establish a mechanism to monitor building performance over time) and consider the cost and benefit of each option in achieving the required improvement in performance. Those adaption options that are considered cost effective are then programmed into the built asset management plans (Figure 2: Stage 5).

Implementation (Figure 2: Stage 6) should occur as and when the building performance falls below the threshold associated with the chosen adaptation pathway (Figure 2: Stage 3). Any preparatory work required to accommodate the future adaptation should be included in the original design.

### CONCLUSIONS

This paper outlined a hybrid approach which integrated backcasting and forecasting principles into the development of building adaptation plans to address future climate change. The hybrid approach emerged from a participatory research project of a £75m new educational building. The processes developed by the project team confirmed the applicability of a hybrid backcasting/forecasting approach to developing and integrating adaptation to future climate change into facilities and built asset management strategies.

Backcasting can provide facilities managers with a vehicle to envision future scenarios based on the complex and uncertain data associated with climate change predictions and identify alternative solution pathways by looking backwards from the future end-goal to the present day. Because such solution paths are not constrained by short-term thinking or current dominating trends they can address a much wider range of possible solutions, including management strategies as well as technical interventions, than would normally be associated with the traditional building centric approach to facilities and built asset management planning. Whilst in this project the adaptation solutions developed tended to be biased towards technical retrofit solutions, this most likely reflected the balance of the project team, and the lack of an accepted approach for quantifying the cost benefit of management strategies for climate change adaptation, rather than an inherent weakness in the backcasting approach.

Forecasting tools still have a role to play in adaptation planning as they provide the models that allow the alternative solution paths can be quantified and evaluated. This was particularly true for this project where cost/benefit analyses were needed to justify changes to the initial design to accommodate potential future retrofit.

Whilst the hybrid backcasting/forecasting approach to adaptation planning described in this paper does provide the facilities manager with a new way of integrating climate change adaptations into facilities and built asset management planning there are a number of issues that need to be addressed before the full benefits of the approach can be realised. The most pressing area for research is the development of a range of life cycle analysis tools that can realistically provide robust cost/benefit assessments for the range of managerial/behavioural solution paths that will allow their direct comparison with technical solution paths. Failure to develop such tools will invariably result in technical solution paths being favoured over managerial/ behavioural solutions which the authors contend would reinforce the dominant (technically focused) trend which is part of the adaptation problem trying to be solved. In addition the availability of such life cycle assessment tools would enable the design team to overcome the initial apprehension (as was experienced here) to the project, as a more systematic approach may be possible, which closer reflects the everyday practice of the professionals involved.

The approach detailed here is based on a single case study with a willing client (a significant benefit to the project) and this must be considered as a limitation. However the authors believe that this approach could be applicable to a range of non-domestic buildings where external climatic conditions and changes in these conditions have the potential to impact upon the performance/operation of the building over time, especially if the tools suggested above can be developed. Each building however must be considered on its merits, for instance in the case considered here the building already featured a number of passive and low energy measures which potentially improve the buildings resilience to climate change (at least in some categories). The limitations and uncertainty contained within the climate change projections available also present a limitation particularly in relation to flooding. As such the design team needs to be able to ‘buy-in’ to the potential implications of climate change in order for an engaged approach to be taken and for this they need a degree of confidence in the projections being put forward.

ACKNOWLEDGEMENT

The work reported in this paper was part funded by the Technology Strategy Board as part of a Design for Future Climate Change project.

# REFERENCES

Camilleri, M., Jaques, R. and Issacs, N. (2001), “Impacts of climate change on building performance in New Zealand”, Building Research Information, vol. 29, issue 6, pg. 440–450.

Chatterjee, K., and Gordon, A. (2006), “Planning for an unpredictable future: Transport in Great Britain in 2030”. Transport Policy, vol 13, pg. 254-264.

DCLG (2010), “Guidance and standards for drying flood damaged buildings - Signposting current guidance – BD2760”, Department of communities and local government (DCLG), UK.

Desai, A. and Jones, K. (2010), “Examination of existing facilities management approaches to climate change and future directions”. Proceedings of the São Paulo 2010 CIB W070 International Conference. CIB Proceedings, Department of Construction Engineering, Escola Politécnica, University of São Paulo, São Paul, Brazil, pg. 585-596.

Dreborg, K. H. (1996), “Essence of Backcasting”, “Futures”, vol.28, issue 9, pg.813-828.

Garvin, S., Reid, J. and Scott, M. (2005), “Standards for the repair of buildings following flooding”, Construction industry research and information association (CIRIA), UK.

Geurs, K. and van Wee, B. (2004), “Backcasting as a tool for sustainable transport policy making: the environmentally sustainability transport study in the Netherlands”, EJTIR, vol 4, issue 1, pg. 47-69

Gleick, P.H., Loh, P., Gomez, S.V. and Morrison, J. (1995), “California Water 2020: A Sustainable Vision”, Pacific Institute, Oakland, California

Hacker, J., Belcher, S. & Connell, R. (2005), “Beating the Heat: keeping UK buildings cool in a warming climate”. UKCIP Briefing Report. UK Climate Impact Program, Oxford, UK.

Hauser, R. and Blume, R. (2010), “Review of Nike considered index and support tools”, the Natural Step

Hodgson, J. and Hopkins, R. (2010), “Transition in action: Totnes and District 2030: an Energy Descent Plan”, Transition Town Totnes/Green Books

Hojer, M. and Mattsson, L. (2000), “Historical determinism and backcasting in future studies”, Futures, vol 32, issue 7,pg. 613 -634.

ICARB, 2014, “Scotland’s future energy visions: 100% renewable by 2030: Backcasting: planning for the future”, Report on the Backcasting Event on 12th March 2014, Initiative for Carbon Accounting

Jones, K., Mulvillle, M. and Brooks, A. (2013), “FM, risk and climate change adaptation”, International Journal of Facilities Management, Proceedings of the 12th EuroFM Research Symposium 2013, Prague, Czech Republic, pg. 120-128.

Koves, A., Kiraly, G., Pataki, G. and Balazs, B. (2013), “Backcasting for Sustainable Employment: A Hungarian Experience”, Sustainability, vol 5, issue 7, pg. 1991-3005

Levermore, G., Chow, D., Jones, P. and Lister, D. (2004), “Accuracy of modelled extremes of temperature and climate change and its implications for the built environment in the UK”, Technical Report 14, Tyndall Centre for Climate Change Research, UK.

Liso, K., Aandahl, G., Eriksen, S. and Alfesen, K. (2003), “Preparing for climate change in Norway’s built environment”, Building Research and Information, vol. 31, issue 3–4, pg. 200–209.

Lovins, A.B. (1976), “Energy strategy: the road not taken?’, Foreign Affairs, vol 55, issue 1, pg. 63-96

Miola,A. (2008), “Backcasting approach for sustainable mobility”, Joint Research Centre – Institute for Environment and Sustainability,  ISBN 978-92-79-09189-6.

Quist, J.N. (2007), “Backcasting for a sustainable future: the impact after 10 years”, PhD Thesis, Technische Universiteit Delft, Eburon Academic Publishers

Quist, J. and Vergragt, P. (2006), “ Past and future of backcasting: the shift to stakeholder participation and proposal for a methodological framework”. Futures, vol 38, issue 9, pg. 1027-1045.

Robinson, J., (1982), “Energy backcasting – A proposed method of policy analysis”. Energy policy, vol 12, pg. 337-344.

Robinson, J., (1990), “Futures under glass: a recipe for people who hate to predict”, Futures, vol 22, issue 8, pp.820-842.

Sanders, C., H. and Phillipson, M., C. (2003), “UK adaptation strategy and technical measures: the impacts of climate change on buildings”, Building Research & Information, vol 31, issue 3-4, pg. 200-221.

Tillsona, A., Oreszczyna, T. and Palmerbet, J. (2013), “Assessing impacts of summertime overheating – some adaptation strategies”, Building Research & Information, vol 41, Issue 6, pg.652-661.

i http://www.naturalstep.org/en/backcasting