# Comparison of the onset of uterine contractions determined from tocodynamometry and maternal perception*

Ying Wang, Pei Gao, Qian Qiu, Yang An, Dongmei Hao, Fangwei Yang, Xiya Zhou, Lin Yang, Yimin Yang, Xuwen Li, Song Zhang, Dingchang Zheng

Abstract--The aim of this study was to investigate the time difference (TD) between the onset of uterine contraction (UC) determined from tocodynamometry (TOCO) and identified by maternal perception. The online available Icelandic database was used to calculate TD, which was defined as the difference between when it was felt by a pregnant woman and the starting point on the UC signal recorded by a TOCO. A total of 295 TDs from 78 recordings (from a total of 33 participants; among them, 13 participants included at least 3 recordings from different gestational weeks) were analyzed with the overall mean±SD of TD calculated. For each individual participant with at least 3 recordings, regression analysis was then performed to investigate the relationship between the mean TD from each recording with gestational week, with their overall slope calculated. The results showed that 85.4% of TDs was within [-40, 40] s, with an overall mean TD of 3.04 s (p>0.05), indicating that there was no significant difference between the UC onset determined from TOCO and maternal perception. It was also noticed that 61.5% recordings (48 out of 78 recordings) had all positive or negative TD for all the UCs analyzed within a recording. Furthermore, the regression analysis showed that the regression line slope was negative for 10 out of the 13 participants with at least 3 recordings from different gestational weeks, resulting in that the overall slope (-2.85±5.58) was significantly negative (p<0.05), and indicating that UC onset TD decreased with gestational weeks. In summary, this study quantitatively investigated the TD between the onset of UCs determined from TOCO and maternal perception, providing scientific evidence for future studies to understand the underlying mechanism of the time sequence of UC activity determined from different techniques.

# INTRODUCTION

Woman's uterus is essentially quiescent throughout pregnancy, and the cervix is rigid and closed. When the fetus is fully developed, the cervix softens and dilates, and the uterus contracts vigorously to expel the fetus [1]. Therefore, the contraction by the smooth muscle, in the myometrium, known as uterine contraction (UC), is of vital importance during pregnancy and parturition [2]. The monitoring of UC activity, including its frequency and intensity [3], is an important diagnostic tool used during both pregnancy and labor. It reflects the adequacy of uterine activity and is essential to assess progress of labor [4]. Currently, the commonly used methods for measuring UC include intrauterine pressure catheters (IUCP) and external tocodynamometry (TOCO). IUPC is able to provide the most reliable information on UC. However, it is limited by its invasiveness and suffering from ruptured membranes and infection, and has been gradually excluded as the routine diagnostic tool in clinical practice [5-7].

TOCO can monitor the uterine activity non-invasively by a pressure transducer placed on the maternal abdomen and thus has been widely used in obstetrics clinical practice [8-10]. In clinical practice, pregnant woman is often asked to self-recognize the UC to assist the diagnosis [11].  It has been reported that, in term of monitoring fetal movement, there was a good agreement between maternal perception and simultaneous TOCO recording [12]. In addition, there was also a good agreement between UC monitoring with TOCO and maternal perception for counting the number of contractions per hour [13]. However, to the best of our knowledge, the time sequence between UCs determined from TOCO and recognized by maternal perception has not been quantitatively analyzed. Our research would provide evidence for disclosing the mechanism of mechanical transmission (UC propagation) and nerve conduction (self-perception) and help to identify UC accurately.

The aim of this study is to investigate the time difference (TD) between the onset of UCs detected by TOCO and maternal perception. Based on this, the UC onset TD changes with gestational weeks will also be analyzed.

# MATERIAL AND METHODS

## A.	Online Database

Icelandic 16-electrode electrohysterogram (EHG) database was used in our study to obtain the TOCO recording and manual UC annotation information. The recordings were performed at Landspitali University Hospital and Akureyri Hospital between 2008 and 2010 in Iceland. Participants had normal singleton pregnancies without known risk factors for preterm birth. The protocol was approved by the National Bioethics Committee in Iceland (VSN 02-006-V4) [11].

A TOCO probe was attached to the abdomen to obtain the TOCO recordings with a sampling rate of 200Hz. The database also included an annotation (.atr) file containing the contraction time when the participant felt a contraction. Some of the participants were invited to take part in the recordings at different gestational weeks. The earliest gestational age was 29 weeks and 5 days (29w5d - pregnancy recording) and the latest gestational age was 41 weeks and 5 days (41w5d - labor recording).

## B.	Onset Time Difference Calculation

As shown on the timeline in Fig. 1, the onset time of the

UC felt by the pregnant woman was provided by the database. For example, the annotation of 7:24.210 represented the time when a contraction was felt. The onset of the contraction recorded by TOCO was determined from the point with abrupt slope change, which was marked by × in Fig.1.

Fig. 1. The onset of UCs marked on the TOCO and felt by the pregnant woman

The time difference (TD) of the UC onset was defined as the difference between the onsets of UC felt by a pregnant woman and determined from the TOCO signal. TD>0 meant the UC onset recorded by TOCO was prior to maternal perception, and vice versa. The overall mean±SD of TD was calculated from all the available contractions.

For each TOCO recording, the number of contractions was counted in terms of whether the TD was positive or negative. The percentage of recordings that had all positive or negative TDs for every UC within a recording was then calculated.

## C. Regression Analysis

For theses participant with at least 3 TOCO recordings from at least three different gestational week, regression analysis was performed to investigate the relationship between the mean TD from each recording and the gestational week. Their overall mean±SD of regression line slope was then calculated. Nonparametric test was performed using SPSS 23 (SPSS Inc.) to investigate whether the overall slope was significantly negative or positive. A P-value below 0.05 was considered statistically significant.

# RESULTS

## Distribution of the Onset Time Difference

A total of 295 TDs from 78 recordings was obtained from a total of 33 participants. Among them, 13 participants included at least 3 recordings from different gestational weeks. Fig. 2 shows the distribution of all the calculated TDs. It can be seen that 85.42% of TDs was within [-40, 40] s.

Fig. 2. Histogram of time difference (TD) from all the contractions analyzed in this study.

Fig. 3. The number of contractions with positive or negative time difference (TD) for each recordings.

The overall mean±SD of TD was 3.04s±28.02, indicating that there was no significant difference between the UC onset determined from TOCO and maternal perception (P>0.05).

Fig.3 shows the distribution of the number of contractions with positive and negative TD from each recording. It can be

seen that 29 recordings (37.2%) had all positive TDs for all the contraction within a recording; and 19 recordings (24.4%) had all negative TDs, indicating that the calculated TD was relatively stable within a single TOCO recording, either positive or negative.

Fig. 4. Relationship between gestational week and the mean TD of all the UC onsets within a recording. It was separately plotted for 13 participants who had at least 3 recordings from different gestational weeks.  The value of upper right corner is the slope of the fitted regression line for each participant.

## Relationship between UC onset time difference and gestational week

Fig.4 shows the relationship between the mean TD of all UC onset within a recording and gestational week from 13 participants who had at least 3 recordings from different gestational weeks. It is noticed that the slope of regression line was negative from 10 participants, which were positive only from 3 participants.

The overall regression slopes (mean ±SD) of was -2.85 ±5.58. Nonparametric test showed that there was significantly different with zero (p<0.05), indicating that UC onset TD decreased with gestational weeks.

# Discussion and Conclusion

This study quantitatively investigated the TD between the onset of UCs detected by TOCO and maternal perception from between participants and between recordings. TOCO has been widely used in clinical practice to monitor UC activity. UCs can also be self-detected by pregnant women. The time sequence of the UC onset determined two methods could provide important information in disclosing the mechanism of mechanical transmission (UC propagation) and nerve conduction (self-perception).

Our results showed that there was individual difference in UC onset TD. 85.4% of TDs was within [-40, 40] s, with an overall mean ±SD TD of 3.04s±28.02. Although the individual difference is large, the overall range of TD was evenly distributed on both sides of the 0. There was no significant difference between TD positive and negative.

More interestingly, it was noticed that 61.5% recordings (48 out of 78 recordings) had all positive or negative UC onset time for all the available UCs within a recording. Only seven recordings had equal number of positive and negative TD within a recording. This shows that UC onset TD has a strong towards one side within a recording. This trend of TD illustrates the relatively stability of maternal perception within a single TOCO recording.

In relation to the gestational week, the TD decreased or even became negative with the increase of gestational week. This could be explained that pregnant woman felt UC easier with the increase of UC intensity. Intensity of contraction increased significantly when participants approach labor, with the increase of feeling of familiarity for UC, so that the nervous system can perceive UC even before the onset of UCs detected by TOCO.

One of the limitations of this study is that, for each individual participates, there were not many recordings available. Longitudinal study requires more recordings on different gestational weeks. Also, it would be interested in understand whether other clinical parameters, apart from the gestational week, would affect the TD of UC onset changes. In a further study, more recordings from the pregnant woman at different gestational weeks could be collected and investigated. Next, UC activities will be recognized with both TOCO and maternal perception as reference signals.

In summary, it has been concluded that there are individual differences in UC onset TD determined from different methods, and the TD decreased gradually with the increase of gestational week. This study provided scientific evidence for future studies to understand the underlying mechanism of the time sequence of UC activity determined from different methods.

References

- R.E. Garfield, W.L. Maner, “Physiology and electrical activity of uterine contractions.” Seminars in cell & development biology, vol. 18, no. 3, pp. 289–295, 2007.

- S.Wray, “Uterine contraction and physiological mechanisms of modulation.” American journal of physiology - cell physiology, vol. 264, no. 1, cc. 1-18, 1993.

- J. Zietek, J. Sikora, K. Horoba et al. “Mechanical and electrical uterine activity. Part II. Contractions parameters.” Ginekollogia polska, vol. 79, no. 11, pp. 798-804, 2008.

- E.H. Hon, R.H. Paul, “Quantitation of uterine activity”, Obstetrics & gynecology, vol. 42, no. 3, pp. 368–370, 1973.

- J. Jezewski, K. Horoba, A. Matonia, J. Wrobel, “Quantitative analysis of contraction patterns in electrical activity signal of pregnant uterus as an alternative to mechanical approach.” Physiological Measurement, vol. 26, no. 5, pp. 753–767, 2005.

- N.G. O'Connell, “Intrauterine pressure catheterp placement technique” Medscape-drug&diesase-clinical procedures, updated Dec. 28, 2015.

- F.A. Wilmink, F.F. Wilms, R. Heydanus et al. “Fetal complications after placement of an intrauterine pressure catheter: a report of two cases and review of the literature.” The journal of maternal-fetal & neonatal medicine, vol. 21, no. 12, pp. 880-883, 2008.

- T.Y. Euliano,  M.T. Nguyen, S. Darmanjian et al. “Monitoring uterine activity during labor: a comparison of 3 methods.” The journal of maternal-fetal & neonatal medicine, vol. 208, no. 1, pp. 66.e1–66.e6, 2013.

- J. Zietek, J. Sikora, K. Horoba et al. “Mechanical and electrical uterine activity. Part I. Contractions monitoring.” Ginekollogia polska, vol. 79, no. 11, pp. 791-797, 2008.

- G.E. LaCroix, “Monitoring labor by an external tocodynamometer.” American journal of obstetrics and gynecology, vol. 101, no. 1, pp. 111–118, 1968.

- A. Alexandersson, T. Steingrimsdottir, J. Terrien, C. Marque, B. Karlsson, “The Icelandic 16-electrode electrohysterogram database: scientific data.” scientific data 2, doi:10.1038/sdata.2015.17, 2015.

- Y. Sorokin, S. Pillay, L.J. Dierker et al., “A comparison between maternal, tocodynamometric, and real-time ultrasonographic assessments of fetal movement.” American journal of obstetrics and gynecology, vol. 14, no. 4, pp. 456–460, 1981.

- R.B. Newman, B.A. Campbell, S.L. Stramm et al., “Objective Tocodynamometry identifies labor onset earlier than subjective maternal perception.” Obstetrics & Gynecology, vol. 76, no. 6, pp. 1089-1092, 1990.

*Research supported by Bill & Melinda Gates Foundation (Investment ID: OPP1148910) and Beijing Natural Science Foundation (7172015).

Ying Wang, Pei Gao, Qian Qiu, Yang An, Dongmei Hao, Lin Yang, Yimin Yang, Xuwen Li, Song Zhang are with College of Life Science and Biomedical Engineering, Beijing University of Technology, Beijing, China (e-mail: wyes2292@126.com, gpsm@emails.bjut.edu.cn, qiuqian@emails.bjut.edu.cn anyang@emails.bjut.edu.cn, haodongmei@bjut.edu.cn, yanglin@bjut.edu.cn, yym@bjut.edu.cn,  lixuwen@bjut.edu.cn, zhangsong@bjut.edu.cn, respectively.  corresponding author, phone: 86-010-67392010; fax: 86-010-67392010).

Fangwei Yang is with the Department of Obstetrics and Gynaecology, Yiwu Central Hospital, Yiwu, China (e-mail: yangjin0322@163.com ).

Xiya Zhou is with the Department of Obstetrics and Gynaecology, Peking Union Medical College Hospital, Beijing, China (email: ZhouXiYa@pumch.cn ).

Dingchang Zheng is with the Health and Wellbeing Academy, Faculty of Medical Science, Anglia Ruskin University, Chelmsford, UK (e-mail: dingchang.zheng@anglia.ac.uk).